## Slide 1: Magnetic Resonance Image Reconstruction
Melik Mehmet BIYIK
Advisor: Asst. Prof. Ilkay OKSUZ

## Slide 2: Content
Introduction
Methods
Results
Future Work

## Slide 3: introduction

## Slide 4: Introduction
Image Reconstruction
Reducing the Magnetic Resonance (MR) acquisition time
The challenge is arranged by University Of Calgary.
Data-set around 200GB https://sites.google.com/view/calgary-campinas-dataset/home?authuser=0

## Slide 5: Purpose
The MR acquisition time can easily exceed 30 minutes
Parallel Imaging and Compressed Sensing
Deep Learning methods
Lack of Data

## Slide 6: Brain slice MR images

## Slide 7: METHODS

## Slide 8: Data-Set

## Slide 9: Data-Set
H5 Files
Hierarchical Data Format(HDF)
k-space Fourier Domain
Fourier Transform

## Slide 10: Example 12 channel k-space train data

## Slide 11: Example 12 channel Brain IMAGES

## Slide 12: BRAIN IMAGE
Sum_of_square

## Slide 13: Single-channel data
Numpy Array (.npy)
256x256.
Example plot of the single-channel k-space :

## Slide 14: SINGLE-CHANNEL DATA
Inverse Fourier Transform
Example plot of the Single-Channel slice :

## Slide 15: Under-Sampling
The mask and data must be in same dimensions
Simulating the speed-up
Mask and data must be in same dimensions

## Slide 16: poisson disc MASK
Radius = 16

## Slide 17: Poisson disc Multi-channel undersampling

## Slide 18: Cartesian mask
Acc: 2 Acc: 4

## Slide 19: Cartesian mask Under-sampling Single-channel k-space

## Slide 20: Cartesian mask Under-sampling Single-channel k-space

## Slide 21: Poisson Mask
Sampling rates:
0.80 0.75

## Slide 22: Poisson mask Under-sampling Single-channel k-space
Sampling rates:
0.80 0.75

## Slide 23: Poisson mask Under-sampling Single-channel k-space
Sampling rates:
0.80 0.75

## Slide 24: Data Augmentation
ImageDataGenerator (Keras)
Rotates and Shifts the images

## Slide 25: Models
Zero Filled Reconstruction
UNET
Hybrid Cascade
W Net

## Slide 26: W-net Model

## Slide 27: Results

## Slide 28: METRICS
Mean Square Error (MSE)
Peak Signal to Noise Ratio (PSNR)
Structural Similarity (SSIM)

## Slide 29: 0.80 rate prediction / Fully Sampled
SSIM = 0.85

## Slide 30: 0.75 rate Prediction / Fully Sampled
SSIM = 0.81

## Slide 31: RESULT TABLE

## Slide 32: Future Work

## Slide 33: Future Work
Reconstructing the W-net model with higher RAM and storage
Hybrid Cascade model, WW-net model
More augmentation
Dual-Channel Data

## Slide 34: Thank you